Instruments / equipment

| Instruments/ Equipment | Uses |
| --- | --- |
| Towel holding clamps | - These are introduced through the ground drapes (at a corner where two drapes meet) and through the patient's skin to securely hold the surgical drape during a surgical procedure. - Towel clamps can also be used to secure suction lines, electrocautery cables, and power equipment lines to drapes but this is less desirable because it creates a hole in the drape in an area that may not have been surgically prepared |
| Needle holders | - This instrument is used to hold and manipulate curved needles during surgical procedures |
| Sponge holding clamp | - Holds sponges, gauzes or sensitive medical supplies as well as antiseptic cotton swabs and gauze before the surgery |
| Scalpel blade #10 | - Used for large skin incisions and incising soft tissue |
| Scalpel holder #3 | - For holding the scalpel blades #10,11,12,15 disposable blades and used for dissection |
| Straight mayo scissors | - For cutting sutures and ligatures or trimming the skin around a wound - Known as the “suture scissors” |
| Curved mayo Scissors | - Allows deeper penetration into the wound and used to cut thick tissues like fascia, tendons and ligaments |
| Bandage scissors | - Used for sizing dressing and removing circumferential bandages - Also used to cut plaster, fabric and occasionally umbilical chord |
| Thumb forceps | - Used for the manipulation and grasping of tissues during surgery. They are non-locking, they contain a grasping surface and may or may not have teeth. Forceps without teeth are thought to cause less tissue trauma |
| Surgical drapes | - Used to maintain a sterile surgical field and reduce the risk of transmission of pathogens to both patient and surgeon |
| PDS II | - Acceptable to use for abdominal or thoracic wall closure |
| Polypropylene | - In repairing of the posterior inguinal wall in hernia operations - Closure of skin incisions |
| Sterile gauze | - Used for absorbing fluids as well as dressing and protecting wounds - It acts as a barrier to prevent contaminants from entering any wound area that it covers and absorbs any blood or fluid that seeps out of the wound |
| IV Solution set | - Used for intravenous therapy that delivers liquid substances directly into the vein |
| Lactated ringers’ solution | - IV fluid therapy - It is the most physiologically adaptable fluid because it’s electrolyte content is mostly closely related to the composition of the body’s blood serum and plasma |
| Catheter needle (20-22 gauge 1”) | - Placed into a peripheral vein for intravenous therapy such ad medication and anaesthetic fluids can also be used to draw blood |
| Endotracheal tube ( Size 4mm) | - Inserted into the trachea for the primary purpose of establishing and maintaining a patent airway and to ensure the adequate exchange of oxygen and carbon dioxide |
| 2% chlorhexidine | - Used widely for skin antisepsis in veterinary medicine |
| Povidone Iodine | - Broad spectrum antiseptic for topical application in the treatment and prevention of wound infection |
| Anaesthesia machine | - (in our scenario) To maintain the patient’s oxygen and accurate tidal volumes to patients with very poor lung compliance and to very small patients |