|  |
| --- |
| **Equipment and Material Used**Equipment and materials used in the surgical treatment of Ocular disorder  |
| Forceps | For [Grab your reader’s attention with a great quote from the document or use this space to emphasize a key point. To place this text box anywhere on the page, just drag it.]* ceps must have a thin edged (atraumatic), to gently grasp the eyelids and conjunctiva,
* E.g., Brown-Adson or larger Bishop-Harmon forceps
 |
| Bishop Harmon forceps  | Brown Adson forceps  |
| Bishop-Harmon Iris Forceps. Your store |  |
| Scalpel and blade | * A No. 4 scalpel handle
* A No. 22 scalpel blade
 |
| No. 22 scalpel blade  | No. 4 scalpel handle  |
| Surgical DesignSterile Scalpel Blades Size: 22; Fits handles of sizes: |  Fisher Scientific | Scalpel Handle, #4, stainless |
| Scissors | * Atraumatic scissors (sharp – sharp or stevens tenotomy scissors)
 |
| Sharp-sharp  | Stevens tenotomy scissors  |
| SCISSORS STRAIGHT SHARP/SHARP - 14.5 cm |  |
| Haemostats | * Mosquito Forceps CurvedMosquito forceps are ideally used, however other fine tip or even regular haemostats can be used
 |
| Needle holders | * Would be dependent on the size of the sutures being used
* For most sutures a Derf needle holder can be used

Derf Needle Holders |
| Sutures | * For skin incisions, 3-0 nylon (nonabsorbable)
* For any ligation or subcutaneous procedure, 2-0 or 3-0 Poliglecaprone (monocryl) (absorbable)

Size used would depend on the animal being operated on size |
| Needles and syringes  | * 5 ml and 22-gauge needle
* 10 ml and 20-gauge needle
* 6-inch or an 8.75inch 18-gauge needle (long) needle used for four-point nerve block
 |
| 6-inch or an 8.75inch 18-gauge needle. (The needle below is a 20 inch, I included this instead of the sizes mentioned above, since the size difference between these sorts of needles and regular needles can be appreciated.) |
|  |

All materials and equipment relating to surgery of the eye, must be thin and handled gently.

Additional materials that may be used:

* Gauze
* Latex gloves